ELLISON SUBDIVISION

Engineering Comments:  Show Minimum FFE on plans and plat for all lots located within the X-Shaded and AE Flood Zones.  No fill allowed within a special flood hazard area without providing compensation or completing a flood study showing that there is no rise for the proposed fill within the special flood hazard area.  Must comply with all storm water and flood control ordinances.  Any work performed in the right of way will require a right of way permit.

Traffic Engineering Comments: Driveway number, size, location, and design to be approved by Traffic Engineering and conform to AASHTO standards.  Final approval for all driveways, proposed and existing will be given upon submittal of final plans.

Urban Forestry Comments:  Property to be developed in compliance with state and local laws that pertain to tree preservation and protection on both city and private properties (State Act 61-929 and City Code Chapters 57 and 64).

Fire Department Comments:  All projects must comply with the requirements of the 2003 International Fire Code, including Appendices B through D, as adopted by the City of Mobile, and the 2003 International Existing Building Code, as appropriate.  Shall comply with Section 508.5.1 of the 2003 International Fire Code

MAWWS Comments:  None provided

The plat illustrates the proposed 1-lot, 6.3+ acre subdivision which is located on the West side of Cypress Shores Drive, 25’+ South of Pointe Road in Council District 4.  The applicant states the property is served by public water and sewer.

# The purpose of this application is to combine a legal lot and a metes and bounds parcel into one legal lot of record. It appears that the metes and bounds parcel was part of Lot 12 in the original application for Cypress Shores Estates Subdivision in 1995 however, when the subdivision was recorded, the parcel was not included (possibly reserved for a future phase). The applicant wishes to now include the parcel to allow construction of a new single-family residence.

# Proposed lot 1 will have frontage onto Cypress Shore Drive, a minor street with an adequate right-of-way width of approximately 60 feet. Since Lot 1 will have approximately 296’ of frontage onto Cypress Shore Drive, access management if a concern. If approved, a note should be placed on the final plat stating that Lot 1 is limited to two curb cuts onto Cypress Shore Drive, with the size, location and design of all curb cuts to be approved by Traffic Engineering and conform to AASHTO standards.

# It should be noted that there is a 30’ minimum building setback line depicted on existing Lot 12. The plat should be revised to show either the 30’ building setback line across all road frontages, or the 25’ minimum building setback line required by the Subdivision Regulations.

The lot size in square feet, at a minimum, should also be depicted on the final plat, or a table provided furnishing the same information, if approved.

A portion of the site appears to be within the “100-year” and “500-year” frequency flood zone as depicted on FEMA maps, and may also contain wetlands indentified on National Wetlands Inventory maps.  The presence of wetlands and floodplains indicate that the area may be environmentally sensitive; therefore, the approval of all applicable federal, state and local agencies would be required prior to the issuance of any permits or land disturbance activities.

Finally, the geographic area defined by the city of Mobile and its planning jurisdiction, including this site, may contain Federally-listed threatened or endangered species as well as protected non-game species. Development of this site must be undertaken in compliance with all local, state and Federal regulations regarding endangered, threatened or otherwise protected species.

Based on the preceding, the plat should be recommended for Tentative Approval subject to the following conditions:

- Placement of a note stating that the lot is limited to two curb cuts onto Cypress Shore Drive with the size, location and design of all curb cuts to be approved by Traffic Engineering and conform to AASHTO standards;

- Revision of the plat to depict a 30’ minimum building setback line along all street frontages;

- Labeling of the lot with its size in square feet;

- Placement of a note on the plat stating that approval of all applicable Federal, state and local agencies is required for wetland and floodplain issues, if any, prior to the issuance of any permits or land disturbance activities; and

- Placement of a note on the plat stating that the site must be developed in compliance with all local, state and Federal regulations regarding endangered, threatened or otherwise protected species.